## Slide 1: SMART INDIA HACKATHON 2026
Indigenous Atmospheric Infrasound Monitoring Platform
Problem Statement ID – SIH26144
Problem Statement Title - High Sensitivity Micro-Barometer Infrasound sensor
Theme- Smart Automation
PS Category- Hardware
Team ID- 155882
Team Name- SPADES

## Slide 2: PROBLEM STATEMENT & PROPOSED SOLUTION
SPADES
CHALLENGES
PROPOSED SOLUTIONS
Wind Turbulence
Temperature Drift
Weather Pressure Variations
Weak Infrasound Signals
Calibration Requirement
Long-Term Pressure Stability
Analog Signal Integrity
Event Identification
Sensor Maintenance
KEY INNOVATION
Differential Measurement
Pressure Equalization
Reference Calibration
STA/LTA Detection
Multi-stage Passive Wind Suppression
Underground Environmental Enclosure + Temperature Compensation (Planned)
Differential Pressure Equalization Network
MEMS Capacitive Sensor + Low Noise Amplifier
Reference Calibration using Pressure Testing
Long-Period Pressure Equalization Network
Low-Noise Analog Front-End + 24-bit ADC Digitizer
FFT-Based Signal Analysis
Modular Cartridge Architecture

## Slide 3: TECHNICAL APPROACH
System Workflow
Pneumatic front end
Electronics
Software
Atmospheric Inlet
01
Wind Noise Reduction Array
Underground Enclosure
Acoustic Tube
02
04
03
Differential Pressure Chamber
05
Long-Period Pressure Equalization Network
06
MEMS Capacitive Pressure Sensor
07
Low Noise Amplifier
08
24-bit ADC Digitizer
09
STM32 Controller
10
Filtering & FFT Analysis
11
STA/LTA Event Detection
Event Storage & Alerts
12
13
Real-Time Dashboard
14
Hardware
MEMS Capacitive Pressure Sensor
MEMS Diaphragm-Based Mechanical Transducer
Differential Pressure Chamber
Pressure Equalization Network
Wind Noise Reduction Module
STM32 + 24-bit ADC Digitizer
WiFi Telemetry
Software
Embedded C on STM32
Butterworth IIR filtering
Temperature Compensation
Radix-2 FFT, Welch PSD
STA/LTA event detection
MQTT telemetry
Next.js + React (TypeScript)
HTML5 Canvas live charts
Target Event Types
Explosion
Rocket Launch
Thunderstorm
Ambient Noise
SPADES

## Slide 4: FEASIBILITY AND VIABILITY
TECHNICAL FEASIBILITY
Commercial Components Available
Standard PCB Manufacturing
Modular Design
Real-Time Monitoring
Scalable Architecture
Feasibility criteria met
5 / 5
CHALLENGE VS SOLUTION
VALIDATION & EVALUATION PLAN
TARGET PERFORMANCE
FREQUENCY RANGE
<20 Hz
0
0.1
1
10
100
Infrasound band
Low Drift
Real-Time Monitoring
0.01–20 Hz Response
Modular Maintenance
Challenge |  | Engineering Solution
Pressure Drift | → | Differential Pressure Equalization
Thermal Drift | → | Underground Environmental Enclosure
Long-Term Stability | → | Self-Calibration using Reference Pressure Testing
Maintenance | → | Plug-and-Replace Cartridge Design
✓
Low-Frequency Signal Detection
✓
Frequency Response Testing
✓
Noise Floor Measurement
✓
Sensitivity Estimation
✓
Stability Testing
SPADES

## Slide 5: IMPACT AND BENEFITS
APPLICATIONS
KEY BENEFITS
Atmospheric Event Monitoring
Atmospheric anomaly detection
High-energy event monitoring
Geophysical Monitoring
Monitor atmospheric signatures of geophysical events
Support scientific research
Rocket & Aerospace Monitoring
Detect launch-generated infrasound
Support aerospace testing
Atmospheric & Volcanic Research
Monitor volcanic activity
Study atmospheric dynamics
Industrial Safety
Monitor large industrial events
Detect abnormal pressure disturbances
Sustainable Development
SDG
9
Industry, Innovation & Infrastructure
SDG
16
Peace, Justice & Strong Institutions
SUPPORTS
Atmanirbhar Bharat
Indigenous Strategic Technology Development
Technical Benefits
High-Sensitivity Infrasound Detection
Low-Noise Signal Conditioning & Digitization
Differential Pressure Measurement
Real-Time Monitoring & Analysis
Economic Benefits
Modular Maintenance Architecture
Reduced Lifecycle Servicing Cost
Commercially Available Components
Scalable Sensor Deployment
Environmental Benefits
Low-Power Operation
Long-Term Field Deployment
Minimal Environmental Footprint
Supports Atmospheric Research
Strategic Benefits
Atmospheric Event Intelligence
Strategic Monitoring Capability
Supports Strategic Monitoring Applications
Indigenous Monitoring Infrastructure
ATMOSPHERIC SIGNALS
Indigenous Infrasound Monitoring Platform
ACTIONABLE MONITORING INFORMATION
SPADES

## Slide 6: RESEARCH AND REFERENCES
RESEARCH DRIVEN DESIGN
CTBTO Infrasound Monitoring Architecture
Reference IMS station design for sensor and array layout
Source: CTBTO Website
Wind Noise Reduction Systems
Porous-hose and pipe-array filters to suppress wind noise
Source: Research Paper
Differential Pressure Measurement
Inlet vs. sealed reference volume, sensor reads the difference
Source: Academic Research
Pressure Equalization Networks
Slow leak path that removes daily barometric changes
Source: Academic Research
Low-Noise Atmospheric Sensing
Low-noise front end and signal-to-noise design
Source: Published Literature
Strategic Monitoring Applications
Explosion, launch and volcano monitoring use cases
Source: CTBTO / Research Literature
PROTOTYPE MONITORING DASHBOARD
DASHBOARD FEATURES
✓ Live Waveform Display
✓ FFT Spectrum Analysis
✓ Frequency-Time Spectrogram
✓ STA/LTA Event Detection
✓ Event Logging & Alerts
✓ Station Health Monitoring
Developed Monitoring Portal: Micro-Barometer Dashboard
SPADES